## Hoja1
EQUIPMENT LA-CoNGA
Provider | Equipment | Description | Brand | Model | Quantity | Price (EUR) | Total | HEIs
CAEN Group https://www.caen.it/ | Educational Kit Premium Version | Kit for Gamma, Beta radiation and Particle experiments | CAEN | SP5600AN | 7 | 8930 | 62510 | All
| Easy PET |  | CAEN | SP5701 | 4 | 7900 | 31600 | UNI, UAN, UIS, UCV-USB
| Emulation Kit | Digital Detector Emulator + Multichannel Analyzer | CAEN | SP5600EMU | 1 | 3730 | 3730 | UCV-USB
| HV Power Supply | 4 channel 5.5kV Desktop HV Power Supply | CAEN | DT1471H | 1 | 5430 | 5430 | YT
| HV Power Supply | 4 channel 8kV Reversible polarity | CAEN | DT1570ET | 1 | 4610 | 4610 | USFQ
| Power Supply | Digital controlled 85V SiPMs power supply | CAEN | DT5485P | 2 | 640 | 1280 | UNI
| Pulse Digitizer | 16Ch + 1, 12bit 5GS/s | CAEN | DT5742B | 1 | 5640 | 5640 | USFQ
| Pulse Digitizer | 8Ch 14bit 250MS/s | CAEN | DT5725B | 1 | 5200 | 5200 | YT
| Accesories | Cables LEMO - MCX | CAEN | A654 | 30 |  | 0 | YT, USFQ
| Accesories | Cables SHV-SHV 6kV 5mts | CAEN | WAC602S0S005 | 6 |  | 0 | YT
| Accesories | Cables SHV-SHV 8kV 5mts | CAEN | WAC802S0S005 | 12 |  | 0 | USFQ
DELL INC https://www.dell.com/fr-fr | PC Desktop | Workstation i5 8Gb RAM 256GB SSD + 1Tb HDD Display 27" | DELL | PC: Inspiron Small Desktop Display: E2720HS | 8 | 1124.29 | 8994.32 | All
| Speakers | Sound bar stereo | DELL | DellPro-AE515M | 8 | 47.83 | 382.64 | All
Not Defined, a local vendor of PC accesories would be fine | WebCam | 1080P HD with microphone | Anivia | 1080p HD W8 | 8 | 30 | 240 | All
| Drawing tablet | 7.9"x 6.3" drawing tablet USB | Wacom | Intuitos CTL4100 | 8 | 70 | 560 | All
| Wifi router | 8 ports GigaBit Ethernet + Wifi + USB | TP Link | Archer AX6000 | 8 | 380 | 3040 | All
National Instruments | Data Acquisition System | 2 analog inputs, 2 analog outputs, 8 digital I/O , digital multimeter, SW Osciloscope | National Instrumentes | myDAQ | 7 | 200 | 1400 | All
STEMLab https://go.redpitaya.com/stayhome-kit?submissionGuid=35449066-a0cb-44bf-bbf6-a5616627ff0c | Data Acquisition System | Red Pitaya STEMlab 125-14 board | STEMLab | STEMlab 125-10 Stay@home kit | 4 | 212.28 | 849.12 | UAN, USFQ
Keysight | Osciloscope + function generator | Oscilloscope with WaveGen, 4Ch, 200 MHz with function generator | Keysight | DSOX1204G infiniiVision 1000 X-Series | 4 | 3843 | 15372 | UNI, UAN, UIS, UCV-USB, UNSM
| RealTime Oscilloscope | 4 Ch 500MHz 5GS/s | Keysight | DSOX3054T | 2 | 10310 | 20620 | YT, USFQ
| Power supply | Triple power supply 1x 6V(5A) 2x 25V(1A) | Keysight | E36312A | 3 | 1735 | 5205 | UNI,UAN,UNSM
176663.08